## Lag Time Calc
This document is designd to help provide approximate lag times for single and multi-stream process analyzers.
Fill in the GREEN highlighted fields only.
The total lag time values for the liquid or gsas sample system are below in the ORANGE" highlighted fields.
Liquid Sample Systems | [5 empty] | Vapor Sample Systems
Transport Tubing: • Enter tubing length adjacent to transport tubing size in feet. • Enter the Flow Rate in either CC or GPH. Sample System: • Enter analyzer flow rate in CC or GPM. • Select the # of Streams in the Sample System • Sample System volume is an estimate based on typical designs. | [5 empty] | Transport Tubing: • Enter tubing length adjacent to transport tubing size in feet. • Enter the Flow Rate in either CC or SCFH. • Enter the Sample Line Pressure in PSIA. Sample System: • Enter analyzer flow rate in CC or GPM. • Select the # of Streams in the Sample System • Enter the Pressure in PSIA • Sample System volume is an estimate based on typical designs.
Sample Line
Liquid Sample Systems | [5 empty] | Vapor Sample Systems
Sample Line Tubing | Length | By-Pass Flow |  | Lag Time(Minutes) |  | Sample Line Tubing | Length | By-Pass Flow |  | Pressure | Lag Time(Minutes)
|  | CC | GPH |  |  |  |  | CC | SCHF
1/4" | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 1/4" | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
3/8" | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 3/8" | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
1/2" | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 1/2" | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Sample System Hardware
Liquid SCS | [5 empty] | Vapor SCS
Streams | AX Flow |  |  | Lag Time(Minutes) |  | Streams | AX Flow |  | Pressure |  | Lag Time(Minutes)
| CC | GPH |  |  |  |  | CC | SCFH
Single Strm | 0 | 0 | 0 | #DIV/0! | #DIV/0! | Single Strm | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Two Strm | 0 | 0 | 0 | #DIV/0! | #DIV/0! | Two Strm | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Three Strm | 0 | 0 | 0 | #DIV/0! | #DIV/0! | Three Strm | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Liquid Sample System Lag Time | [5 empty] | Vapor Sample System Lag Time
Tubing + SCS | Total Lag Time-CC | Total Lag Time-GPH |  |  |  | Tubing + SCS | Total Lag Time-CC | Total Lag Time-SCFH
1/4" + 1 STRM -SCS | #DIV/0! | #DIV/0! |  |  |  | 1/4" + 1 STRM -SCS | #DIV/0! | #DIV/0!
3/8" + 1 STRM SCS | #DIV/0! | #DIV/0! |  |  |  | 3/8" + 1 STRM SCS | #DIV/0! | #DIV/0!
1/2" + 1 STRM SCS | #DIV/0! | #DIV/0! |  |  |  | 1/2" + 1 STRM SCS | #DIV/0! | #DIV/0!
1/4" + 2 STRM -SCS | #DIV/0! | #DIV/0! |  |  |  | 1/4" + 2 STRM -SCS | #DIV/0! | #DIV/0!
3/8" + 2 STRM SCS | #DIV/0! | #DIV/0! |  |  |  | 3/8" + 2 STRM SCS | #DIV/0! | #DIV/0!
1/2" + 2 STRM SCS | #DIV/0! | #DIV/0! |  |  |  | 1/2" + 2 STRM SCS | #DIV/0! | #DIV/0!
1/4" + 3 STRM -SCS | #DIV/0! | #DIV/0! |  |  |  | 1/4" + 3 STRM -SCS | #DIV/0! | #DIV/0!
3/8" + 3 STRM SCS | #DIV/0! | #DIV/0! |  |  |  | 3/8" + 3 STRM SCS | #DIV/0! | #DIV/0!
1/2" + 3 STRM SCS | #DIV/0! | #DIV/0! |  |  |  | 1/2" + 3 STRM SCS | #DIV/0! | #DIV/0!
By: SS
REV: 1461